NANOTECHNOLOGY RESEARCH LABORATORY

| S. No | List of Equipment | Make & Model | Purpose |
| --- | --- | --- | --- |
| 1 | Planetery Ball Mill | VBCC & VB CERAMICS | Size reduction of powder sample to nano scale |
| 2 | Double Beam UV Vis Spectrophotometer with DRS | PERKIN ELMER & LAMDA35 | Qualitative and quantitative analysis of liquid/ Powder/Paste/Thin films |
| 3 | Probe Sonicator | PRO-500 & LABMAN | Dispersion of nano particles, degassing of liquids, disruption and speeding up dissolution, precipitation, crystallization. |
| 4 | Surface Area Analyser | BEISORP – MINI II &MALVERN INSTRUMENTS LTD. | Surface Area Characterization, measurement of pore diameter and total pore volume. |
| 5 | Particle Size & Zeta Potential Analyser | ZETASIZE NANO ZS90 & MALVERN INSTRUMENTS LTD | Particle size analysis for micro and nano particles. Zeta Potential – Stability of nano particle, electrophoretic mobility of nanoparticle |
| 6 | CVD Chamber | CVD TABLE TOP & VB CERAMIC CONSULTANT | Synthesis of Carbon Nano Tubes, Calcination of Nanoparticles, Scintering of Nanoparticles under Inert atmosphere |
| 7 | Atomic Force Microscope | XE7 & ATOMIC FORCE MICROSCOPE | Assessment of Surface topography, Surface smoothness and Particle size |
| 8 | Programmable Spin Coater | SPINNXG – PI & APEX | Substrate Preparation, Thin coating of nanoparticles |
| 9 | Potentiostat/Galvanostat - Millipore | BIOLOGIC SP200 & FRANCE | Elecltrochemical properties of sample – IV, CV, Cyclic Voltametry |
| 10 | Water System for Ultrapure Water | MILLIPORE DIRECT – Q 8 UV & MERK | Purification of water – HPLC grade |